## Note
Modify Date | Version | Item | DLL version
2018-11-15 | V1.08 | 增加 UtilityLibrary all API 說明範例 | 1.0.6.0
2018-11-21 | V1.09 | 增加 FeasaLED API for All LED by one time | 1.0.1.0
2018-11-22 | V1.091 | 增加 EditorScriptTool CheckSum 時， 先確認Test ID 正確性 | 1.0.6.0
2018-11-29 | V1.092 | 增加 BS2302 API for Send/Receive/Query | 1.0.0.1
2018-11-30 | V1.093 | EditorScriptTool 1. Add Check Test ID rule for Generate Checksum Step 2. Add sync User list from minicloud | 1.0.7.0
2018-12-28 | V1.1 | 1. Releae Agilent6643A library 2. Release Agilent34401A library | 1.0.0.0
2019-02-26 | V1.2 | 1. Release Mini-Circuits RF_switch library 2. Release SCPI_Controller library | 1.0.0.0
2019-04-11 | V1.33 | 增加 UtilityLibrary API 1. EXFILE for 判斷檔案是否存在 2. AHCONV for 16進度與 ASCII 轉換 | 1.0.7.1
.............. | .............. | ................. | ..........
2020-10-05 | V1.4 | 增加 UtilityLibrary API 1. EXPROG for 判斷程式是否運行 | 1.0.8.4
2021-05-23 | V1.5 | Add DevUart.dll library for Uart of Instrument type | 1.0.0.0
2021-05-23 | V1.5 | Add DevQueue.dll library 1. for Device Queue 2. input BOX for OP keyin | 1.0.0.0
2021-05-23 | V1.5 | Add PPH1503.dll library for PHH1503 DC power support | 1.0.0.0
2021-09-01 | V1.5 | 增加 UtilityLibrary API 1. GenDT 增加轉 UTC 2. lsPCIP for ls PC IP, 3.UUID for generate UUDI for 32 4. FindCOM/DiffCOM for取得與對比 COM port 5.SetEP/GetEP for設定/取得當下執行路徑 6.Lpad/Rpad for 向左/右補滿字組 7.GetCOM for 利用 Port&Hub 取得對應 COM port 8.CrtDIR & lsDIR for 創件資料夾 & 取得資料夾下檔案 by 生成時間 | 1.0.9.3
2021-11-16 | v1.6 | 增加 UtilityLibrary API 1. GetChainCOM 利用USB index 取得對應 COM port 2.加速 Get COM port 效率 | 1.0.9.4
2021-12-16 | 1.61 | 1. Add DAQ970A | 1.0.1.0
2022-07-20 | 1.62 | 增加 UtilityLibrary API 1. 2Float, format 數值為帶小數點後幾位輸出 | 1.0.9.9
2022-10-12 | 1.63 | UtilityLibrary 1. Add API for GetDevID: using Port Chain to get PnpDevice ID 2. Modify API for 2Float: param[3] for divisor | 1.0.9.10
2022-10-14 | 1.64 | Add DevUart for 多機共用 Uart, 資訊互通功能 | 1.0.2.0
2023-01-31 | 1.65 | UtilityLibrary 1. Add Crc16 for PLC checksum 2. Add IMEI Check digit | 1.0.9.11
2023-03-10 | 1.66 | UtilityLibrary 1. ping/unping 設定 -w 參數 for param-4 2. Add IMEI Check digit | 1.0.9.12
2023-03-28 | 1.7 | Add GDM906x library | 1.0.0.0
2023-04-11 | 1.71 | Add BS2302 API for GetCurr | 1.0.2.0

## Summary
Libray | API Functions | Desc. | Type
IPOWER2401 | POWERSWITCH | Power Switch 2401 | Device | Reply=0為正常完成程序
OSP120 | NFT | NFT analyser OSP120 | Device
FeasaLED | LED_Test | LED analyser FeasaLED | Device
IPRO800 | POWERSWITCH | Power Switch Pro800 | Device
Transmitter1 | TCP_Transfer | Virtual Transmitter | Device
NI6008-1 | Voltage, Freq, P2P, AMP, MaxPeak, MinPeak, RMS | DAQ device NI6008/9 | Device
NI4461 | VOIP,RMS | DAQ device NI4461 for VOIP | Device
DIO6509 | IOswitch | DigitIO device DigitIO6509 | Device
SAu3751 | RFPwrFreq,SMask | SA U3751 | Device
SAn9000 | CHPwr,Freq,SMask | SA N9000 | Device
ScpTDS3014B | RMS,Voltage,Freq,Mean,AMPL,PK2PK,cvbsCB,svCB,ypbCB | Scope TDS3014B | Device
MDA2700 | Freq,AC,DC,CAC,CDC | Data ACQ MDA2700 | Device
DAQ970A | Freq,AC,DC,CAC,CDC | Data Acqquisition | Device
E4418B | RFPwr,ZERO,CALIB | PowerMeter PMeterE4418B | Device
QRDecode | QRCode | Decode QR Code | Device
RedratOut | OutKeys | RedRat Keys Output | Device
LV_Device | LVdev (By LabView Define) | Transfer LabView Library | Device
E4438C | ModON,ModOFF,PreDev,ResDev,DefDev | SG | Device
SFE100 | SetDVBC,PreDev,ResDev,DefDev | SG | Device
FM480 | FScan | FM480fix scanner | Device
InstIQApiA | MeasWIFI,MeasCW,GenWIFI,GenBT,MeasBT | IQxel/IQ flex tester A route | Device
InstIQApiB | MeasWIFI,MeasCW,GenWIFI,GenBT,MeasBT | IQxel tester B route | Device
UtilityLibrary | Pls to check Utility Sheet Name | Utility functions | DUT
IQ_Log | CMD,LOG_SEACH | IQ fact+ process | DUT
iRFSW3001 | 75 RF Switch | RF Switch 1 to 4 | Device
PSS2005 | MSCurr,MSVolt,SetCurr,SetVolt,SetON,OUTONOFF,CLR | DC Power Supply | Device
PSH1503 | MSCurr,MSVolt,SetCurr,SetVolt,SetON,OUTONOFF,CLR | DC Power Supply | Device
BS2302 | Relay, Set, Send, Receive, CLR, GetCurr | Battery Simulator/DC Power Supply | Device
Agilent6643A | Relay, Set, Send, Receive, Query | DC Power Supply | Device
Agilent34401A | MSCurr, MSVolt, MSFreq, MSPer, MSCont | AC/DC MultiMeter | Device
GDM906x | VDC,ADC,VAC,AAC,FREQ,CLS,RST,Send | AC/DC MultiMeter | Device
RF_Switch | RF Switch | RF Switch 1 to 4 for Mini-Circuits | Device
SCPI_Controller | Set, Send, Receive, Query | SCPI Controllor | Device
DevUart | Uart(AddAttribute/Parameter/Send/Receive/CloseUart/OpenUart), Variable(clrVar/SetVar/GetVar) | Common Uart/Variable | Device
Switch | Functions | Desc. | Type
RFSwitch3001 | 75 RF Switch | RF Switch 1 to 4 | Switch
EditorScriptTool | Generate Test ID / CheckSum

## EditorScriptTool
Step1 | 選擇 user & 輸入 Password
Step2 | 選擇 TestID list & Main Script
Step3 | 若出現錯誤，請查看相 對目錄下 CentimaniTrace.log 並排除異常 item
Step4 | Generate CheckSum，過程中如若沒彈出異常訊息，即表完成 (如若沒增加任何 Test ID(Step) 狀況下，可直接 Gen Checksum)

## SAu3751
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | Interface,IP,Semaphore,CalTemperature | Semaphore | CalTemperature
Example: | Ethernet,TCPIP0::192.168.201.15::inst0::INSTR,1,1 | 0: False 1:True | 0: False 1:True
Open()
Close()
Dispose()
string execFunction(string APIName, string Param, string RetValues)
API name | Param | RetValues | Output
Units: DBM DBMV DBUV DBEMF DBPW W V
PWRLV | Freq, Span, Rbw, Vbw, Unit, RefLevel, AvgCount, Delay, SaveWaveform, Offset, |  | PWRlevel
SMASK | Freq, Span, Rbw, Vbw, Unit, RefLevel, AvgCount, Delay, SaveWaveform, Offset, |  | SMARK
FREQ | Freq, Span, Rbw, Vbw, Unit, RefLevel, AvgCount, Delay, SaveWaveform, Offset, |  | PWRlevel ¦ mkFreq
Example: | Parameters | RetValues | Output
:Dev.FREQ | 1000K,20M,10K,10K,DBMV,-20,3,2000,3,0.5 |  | -26¦999000
Install package | ncessary libraries

## SAn9000
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | Interface,IP,Semaphore,CalTemperature | Semaphore | CalTemperature
Example: | Ethernet,TCPIP0::192.168.201.15::inst0::INSTR,1,1 | 0: False 1:True | 0: False 1:True
Open()
Close()
Dispose()
string execFunction(string APIName, string Param, string RetValues)
API name | Param | RetValues | Output
Units: DBM, DBMV, DBMA, V, W, A, DBUV, DBUA, DBPW, DBUVM, DBUAM, DBPT, DBG,
SMASK | Freq, Span, Rbw, Vbw, Unit, RefLevel, Delay, SaveWaveform, Offset, |  | SMARK
CHPWR | Freq, Span, BANDINT, Unit, RefOffSet, AvgCount, Delay, SaveWaveform, Offset,
FRPWR | Freq, Span, Rbw, Vbw, Unit, RefOffSet, AvgCount, Delay, SaveWaveform, Offset,
Def |  |  |  | Reset to default
Example: | Parameters | RetValues | Output
:Dev.FRPWR | 1M,20M,10K,10K,DBMV,-20,3,5000,3,0.5 |  | -26¦999000
:Dev.CHPWR | 1M,20M,16K,DBMV,-20,3,5000,3,0.5 |  | -26¦999000
Install package | ncessary libraries

## ScpTDS3014B
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | Interface,IP
Ethernet,TCPIP0::192.168.201.15::inst0::INSTR
Open(string option)
Close()
Dispose()
string execFunction(string APIName, string Param, string RetValues)
API name | Param | RetValues
MEASQuery | MeasueType | Channel | Delay | RetValues |  | Output
| 0: AMPLITUDE 1: MEAN 2: FREQUENCY 3: MAXIMUM 4: MINIMUM 5: PK2PK 6: RMS 7: HIGH 8: LOW 9: RISE, 10: FALL, 11: PERIOD, 12: NWIDTH, 13: PWIDTH, 14: CRMS, 15: CMEAN, 16: NDUTY, 17: PDUTY, 18: POVERSHOOT, 19: NOVERSHOOT, 20: BURST, | 1:CH1 2:CH2 3:CH3 4:CH4 | ms
Example: | Parameters | RetValues | Output
MEASQuery | 6, 2, 1000 |  | 1.44
GetVideoResult | vType | vStand | Channels(_) | nLine | HD_Format | Xscale | Xdelay | Yscale | Yoffset (YZERO) | PointFile | Delay | SaveWF | (unit)IRE or mv | AnalyticInfo
| 0: CVBS, (Default) 1: SVIDEO, 2: YPBPR, | 0: NTSC, (Default) 1: PAL, 2: HDTV, | 1:CH1 2:CH2 3:CH3 4:CH4 ex:2_3_4 for YPbPr Sync for first Port | Video line Ex:125 | 0: HD1080I50, 1. HD1080I60, 2. HD1080P24, 3. HD1080P25, 4. HD1080SF24, 5. HD480P60, 6. HD720P60, |  |  |  |  | TestPoint setting FileName 固定 fields name [CVBS_TestPoint] [SVideo_TestPoint] [YPbPr_TestPoint] 檔案預設放置於 exe 同目錄下，填入相對路徑可指向 | ms | 0: False 1:True | 0: mv 1:IRE (default) | For CVBS/SVideo lBP; lSync; lWhite; lYellow; lCyan; lGreen; lMagenta; lRed; lBlue; lBlack; cWhite; cYellow; cCyan; cGreen; cMagenta; cRed; cBlue; cBlack; | For YPbPr: yBP; ySync; yWhite; yYellow; yCyan; yGreen; yMagenta; yRed; yBlue; yBlack; pbWhite; pbYellow; pbCyan; pbGreen; pbMagenta; pbRed; pbBlue; pbBlack; prWhite; prYellow; prCyan; prGreen; prMagenta; prRed; prBlue; prBlack;
Example: | Parameters | RetValues | Output
GetVideoResult | "0", "0", "1", "125","","1E-5", "4E-5", "0.2", "0.46755", "TestPoint.ini","1000","1","0" | lSync;lWhite;cWhite
GetVideoResult | "1", "0", "1_2", "125","","1.00E-5", "4.00E-5", "1.43E-01", "3.86E-1", "TestPoint.ini","1000","1","0" | lSync;lWhite;cWhite
GetVideoResult | "2", "2", "2_3_4", "125","1","4.00E-6", "4.5E-5", "2E-01", "4.8175E-1", "TestPoint.ini","1000","1","0" | yWhite;pbWhite;prWhite
Install package | ncessary libraries

## iPower2401
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | PCIP, DeviceIP, Port, Semaphore
Example: | 192.168.201.11,192.168.201.3,9999,1
Open(string Params, ref string Msg)
Example: | 192.168.201.11,192.168.201.3,9999,1
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
SwitchON | 1 |  |  | Power ON
SwitchOFF | 1 |  |  | Power OFF
Example: | For switch (1:1-Port => 1~4) | RetValues | Output
:Dev.SwitchON | 1:1-1 |  |  | Port 1 Power ON
:Dev.SwitchOFF | 1:1-2 |  |  | Port 2 Power OFF
Install package | ncessary libraries

## iPowerPro800
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | DevicePort, m_RoutNo
Example: | COM3, 1
Open(string Params, ref string Msg)
Example:
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
SwitchON | 1 |  |  | Power ON
SwitchOFF | 1 |  |  | Power OFF
Example: | For switch (1:1-Port => 0~8 0: all port) | RetValues | Output
:Dev.SwitchON | 1:1-1 |  |  | Port 1 Power ON
:Dev.SwitchOFF | 1:1-2 |  |  | Port 2 Power OFF
Install package | ncessary libraries

## DaqUSBNi
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | Device ID
Example: | Dev1
Open(string Params, ref string Msg)
Example:
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
VOLTAGE | AITerminal(RSE/DIFF),ClkRate, Channels… (0~7) |  |  | For DC Voltage
FREQ | AITerminal(RSE/DIFF),ClkRate, Channels… (0~7) |  |  | For Frequency
P2P | AITerminal(RSE/DIFF),ClkRate, Channels… (0~7) |  |  | For Peak to Peak
AMP | AITerminal(RSE/DIFF),ClkRate, Channels… (0~7) |  |  | For Amplitude
MaxPEAK | AITerminal(RSE/DIFF),ClkRate, Channels… (0~7) |  |  | For Max Peak
MinPEAK | AITerminal(RSE/DIFF),ClkRate, Channels… (0~7) |  |  | For Min Peak
RMS | AITerminal(RSE/DIFF),ClkRate, Channels… (0~7) |  |  | For RMS
Example: | Parameters | RetValues | Output
:Dev.VOLTAGE | RSE,500,0,1,2,3 | 1.3 ¦ 5.01 ¦ 3.1 ¦ 2.2 |  | Port 0~3 DC Voltage
:Dev.FREQ | RSE,1000,4,5 | 998 ¦ 1001 |  | Port 4&5 Frequency
Install package | ncessary libraries
LabView runtime for 32 bits | NationalInstruments.Common.Native.dll
NI MAX for 32 bits | NationalInstruments.DAQmx.dll
PS 量測 Audio 需要串接 10K 電阻於正負極

## MDA2700
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | GPIB, GPIB string,Semaphore
Example: | GPIB,GPIB::4::INSTR,1
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
FREQ | Port(x - x - x - x), Delay(ms), Init Measure(1: ON, 0:OFF) |  | Frequency
AC | Port(x - x - x - x), Delay(ms), Init Measure(1: ON, 0:OFF) |  | AC level
DC | Port(x - x - x - x), Delay(ms), Init Measure(1: ON, 0:OFF) |  | DC level
7709 | Port(x - x - x - x), 0, 0 |  | Only Switch 7709 port close
CAC | Port(x - x - x - x), Delay(ms), Init Measure(1: ON, 0:OFF) |  | AC currect level
CDC | Port(x - x - x - x), Delay(ms), Init Measure(1: ON, 0:OFF) |  | DC currect level
Example: | Parameters | RetValues | Output
AC | 103-135-150,2000,1 |  | 1.54 | Close 103,135,150 ports and measure AC level
7709 | 103-135-150,0,0 |  | 7709 | Only for close 103,135,150 ports
Install package | ncessary libraries

## DAQ970A
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | Connection Type, Connection string
Example: | USB,USB0::0x2A8D::0x5101::MY58005778::INSTR
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
FREQ | PortList(-),Delay(ms) |  | Frequency
AC | PortList(-),Delay(ms) |  | AC level
DC | PortList(-),Delay(ms) |  | DC level
CAC | PortList(-),Delay(ms) |  | AC currect level
CDC | PortList(-),Delay(ms) |  | DC currect level
Example: | Parameters | RetValues | Output
AC | 101-102-103,2500 | 0 | 1.54¦2.3¦5.1 | 1.54 for ch101, 2.3 for ch102, 5.1 for ch 103
CDC | 101-110,1000 | 0 | 0.54¦0.2 | 0.54 for ch101, 0.2 for ch110
Install package | ncessary libraries

## OSP120
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | IP,Timeout,Com_Port
Example: | 192.168.48.147,1000,6
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
Power | Port,Feq |  | NFT_Power | Get Power Level
| For switch (1:Module-Port) Module => 1 ~ 2 Port => 1 ~ 6 |  |  | Switch Setting
| 1:1-2 |  |  | Switch to Module 1 - Port 2
Example: | Parameters | RetValues | Output | Desc.
Power | 1,2400 |  | 0¦12 | 取得 CH1 Power
Install package | ncessary libraries

## IQ_Log
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | [location_file],DUT_number,Debug_mode_enable
Example: | ,DUT1,1
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
CMD | exe_location,run script, |  | 0
LOG_SEACH | test item up,test item down,seach test item,unit,[log_location] |  | seach_value | Get Seach Value
Example: | Parameters | RetValues | Output | Desc.
CMD | C:\LitePoint\IQfact_plus\IQfact+_QCA_99xx_3.3.2.14_Lock\1\IQfactRun_Console.exe, -run *(IQscript) -exit, |  | 0 | Running IQfactRun_Console.exe
LOG_SEACH | TX_MULTI_VERIFICATION 5180 MCS8 BW-20 TX1,13.TX_MULTI,EVM_AVG_DB,dB, |  | 0¦-36.86 | Parse Run trace
| TX_LE 2402 1LE,7.TX_LE,DELTA_F0_Fn_MAX,kHz,C:\LitePoint\IQfact+\ATHR_3012_btconfig_TP_3.3.0.Eng1_Lock\1\Log\Log_all.txt |  | 0¦0.496015 | Parse Log
Install package | ncessary libraries

## LED_analyser
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | COM_PORT,exposure_time
Example: | COM2,10
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
RGB | Channel ( 01~20) |  | R level ¦ G level ¦B level ¦ Intensity | Get RGB level
HSI | Channel ( 01~20) |  | Fiber Number ¦ Hue level ¦ Saturation ¦ Intensity | Get Hue level
All_channel | 1,2,3,4,5............. |  | D1;D2;D3;D4;D5;.............. | RGB for All Channel
Example: | Parameters | RetValues | Output | Desc.
RGB | 01 |  | 120¦255¦255¦06550 | Get Port1 GRB level
Install package | ncessary libraries
Send | Reply | EndPrompt | Ref | Validation | Return
:Dev.All_channel,"1,2,3,4,5,6,7,8" | 0 |  | D1;D2 |  | D1=041,129,085,00031; D2=040,125,090,00072;
:GetVal,"D1" |  |  | R:SplitString,",","0"; G:SplitString,",","1"; B:SplitString,",","2"; LU:SplitString,",","3" | (R,%f,20,200); (G,%f,100,200); (B,%f,50,100)
:GetVal,"D2" |  |  | R:SplitString,",","0"; G:SplitString,",","1"; B:SplitString,",","2"; LU:SplitString,",","3" | (R,%f,20,100); (G,%f,100,200); (B,%f,50,100)

## DigitIO6509
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | DeviceID
Example: | Dev1
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Channel (1~16, all, SG, NS, ATT) | RetValues | Output
SWITCH | 1:SW2(DUT1) - DS 2.SW2(DUT1) - US 3:SW3(DUT2) - DS 4.SW3(DUT2) - US 5:SW4(DUT3) - DS 6.SW4(DUT3) - US 7:SW5(DUT4) - DS 8.SW5(DUT4) - US 9:SW6(DUT5) - DS 10.SW6(DUT5) - US 11:SW7(DUT6) - DS 12.SW7(DUT6) - US 13:SW8(DUT7) - DS 14.SW8(DUT7) - US 15:SW9(DUT8) - DS 16.SW9(DUT8) - US SG. SW1 to SG NS. SW1 to NS ATT. Attenuator, 0:Attenuator value(0~127) |  | Open Port list
Example: | Parameters | RetValues | Output | Desc.
SWITCH | 1 |  | 0-2_2-2 | Switch Port1 to open
SWITCH | all |  | OpenAll | Open all port
SWITCH | ATT,30 |  | Attenuator to 30
Install package | ncessary libraries
LabView runtime for 32 bits | NationalInstruments.Common.Native.dll
NI MAX for 32 bits | NationalInstruments.DAQmx.dll

## DaqNI4461
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | DeviceID
Example: | Dev1
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
VOIP | AIport, SampleRate, AOport, AOfrequency, AOdBm, AOduration | FREQ, SNR, THD, ATT
VOLAGE | AIport
FREQ | AIport
P2P | AIport
AMP | AIport
MaxPEAK | AIport
MinPEAK | AIport
RMS | AIport
Example: | Parameters | RetValues | Output | Desc.
VOIP | 0,10000,0,1020,1,1 | FREQ,SNR,THD,ATT | 10000,88,0.2,20 | VOIP for AI0 & AO0
RMS | 0 |  | 1.8 | RMS level ofr AI0 port
Install package | ncessary libraries
LabView runtime for 32 bits | NationalInstruments.Common.Native.dll
NI MAX for 32 bits Ver: 15.3 | NationalInstruments.DAQmx.dll
lvNI4461.dll
data folder

## PMeterE4418B
Function | Parameters |  | Desc.
LoadSettings(string Settings) | GPIB, GPIB string, Semaphore, SersorType
Example: | GPIB,GPIB::4::INSTR,1,HP8481A
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
ZERO |  |  |  | ZERO
CALIB |  |  |  | CALibration
PWR |  |  | PWR leve
Example: | Parameters | RetValues | Output | Desc.
PWR |  |  | 22.123 | Measure Power
Install package | ncessary libraries

## QRDecode
Function | Parameters |  | Desc.
LoadSettings(string Settings)
Example:
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
DECQR | Picture PathName |  | QR string | Get QR Code info
Example: | Parameters | RetValues | Output | Desc.
DECQR | D:\111.bmp |  | 111,222,aaa=555 | Get QR Code info
Install package | ncessary libraries
zxing.dll
QRDecode.dll

## RedRat
Function | Parameters |  | Desc.
LoadSettings(string Settings) | DeviceName
Example: | No name 3368
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
OUTKEYS | XMK_PathName, DeviceName, Delay(ms), key1, key2, key3…. |  | keys | Output Keys
Example: | Parameters | RetValues | Output | Desc.
OUTKEYS | D:\LGTVDB.xml, LGTV, 100, 3, 5, PWR |  | 3¦5¦PWR | Output 3,5,PWR Keys
Install package | ncessary libraries
RedRat.dll

## E4438C
Function | Parameters |  | Desc.
LoadSettings(string Settings) | Ethernet, address
Example: | Ethernet,TCPIP0::192.168.201.15::inst0::INSTR
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
ModON | Freq,Power,WAVeform | 0 |  | Set SG Freq & Power & WaveForm
ModOFF | Freq,Power | 0 |  | Set SG Freq & Power
Example: | Parameters | RetValues | Output | Desc.
ModON | 5.1M, -10, 256QAM | 0
ModOFF | 5.1M, -10 | 0
Install package | ncessary libraries

## SFE100
Function | Parameters |  | Desc.
LoadSettings(string Settings) | Interface, ConnString
Example: | Ethernet,TCPIP0::192.168.201.15::inst0::INSTR
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
SETDVBC | Freq, Power, SymRate, Modulation(C16,C32,C64,C128,C256) |  | Command success | Set DVB-C
PREDEV |  |  |  | Preset
RESDEV |  |  |  | Reset
DEFDEV |  |  |  | Default
Example: | Parameters | RetValues | Output | Desc.
SETDVBC | 550000000, 20, 26850, C64 |  | Command success
Install package | ncessary libraries
RedRat.dll

## tf_LVDevice
Function | Parameters |  | Desc.
LoadSettings(string Settings) | LV library Name, LV library define Prarmeters
Example: | LV_Device.dll,1,2,3
Open(string Params, ref string Msg) | LV library define Prarmeters
string execFunction(string APIName, string Param, string RetValues) | LV library define Prarmeters
API name | Parameters | RetValues | Output
LV library define Prarmeters | LV library define Prarmeters | LV library define Prarmeters | LV library define Prarmeters | LV library define Prarmeters
Example: | Parameters | RetValues | Output | Desc.
Install package | ncessary libraries
LV library define Prarmeters | LV library define Prarmeters

## FM480
Function | Parameters |  | Desc.
LoadSettings(string Settings) | COM, Rate
Example: | COM3,9600
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
FSCAN | Delay Time(ms),Length |  | Scan number | Trigger scanner
Example: | Parameters | RetValues | Output | Desc.
FSCAN | "1000","12" |  | 123456789 | Trigger scanner
Install package | ncessary libraries

## BS2302
Function | Parameters |  | Desc.
LoadSettings(string Settings) | GPIB, GPIB address
Example: | GPIB,1
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
Relay | Relay 1,Relay 2,Relay 3, Relay 4 ~~ (ONE/ZERO) | 0 | Relay1~4 Status | Set Relay
Set | VOLTage/CURRect/OUTPut(ON/OFF) | 0 | Volt/Curr/Out | Set VOLTage/CURRect/OUTPut
Send | Command | 0 | 0 (PASS)/非0 (FAIL) | Send Command
Receive |  | 0 | Rreults | Revice Data
Clr |  | 0 |  | Clear Error
GetCurr |  | 0 | Current | Get Current
Example: | Parameters | RetValues | Output | Desc.
Relay | ONE,ONE,ZERO,ZERO |  | ONE¦ONE¦ZERO¦ZERO
Set | 12,1.5,ON |  | 12¦1.5¦ON
GetCurr |  |  | 0.35
Install package | ncessary libraries
Send | Reply | EndPrompt | Ref | Validation | Return
:Dev.Query,"READ?" | 0 |  | Val | (Val,%f,1,10); | Val=1.267
:Dev.Relay,"ONE","ONE","ZERO","ZERO" | 0 |  | R1;R2;R3;R4 |  | R1=ONE;R2=ONE;R3=ZERO;R4=ZERO
:Dev.Set,"12","1.5","ON" | 0 |  | V;C;S |  | V=12;C=1.5;S=ON
:Dev.Curr | 0 |  | dcCurr | (Curr,%f,0.2,1.2); | Curr=0.35

## UtilityLibrary
Function | Parameters |  | Desc.
LoadSettings(string Settings, ref string PrcMsg)
Example:
Load(ref string Msg)
UnLoad()
string Execute(string APIName, string[] Params, string RetValues)
API name | Parameters | RetValues | Output | Desc.
ChkLEN | 0:Source String, 1:Length | 0 |  | 確認字串長度
StrCMP | 0:Source String, 1:比較字串, 2:Index, 3:Length | 0 |  | 比較字串內文字
ChkRegex | 0:String, 1:Regex Pattern | 0 |  | 確認字串格式 (正規化表示)
GetSTR | 0:String, 1:Regex Pattern | 0 | 正規化後字串 | 取得字串 (正規化表示)
StrRep | 0:String, 1:Replace string, 2:new string | 0 | 取代後字串 | 字串取代
StrSpilt | 0:String, 1:SubKey, 2:Index(-1=ALL) | 0 | 切割後字串 | 字串切割
Ping | 0:IP, 1:timeout(ms), 2:SrcIP, 3: packettimeout(ms) | 0 |  | Ping check
UnPing | 0:IP, 1:timeout(ms), 2:SrcIP, 3: packettimeout(ms) | 0 |  | Ping check
CMD | 0:ExeFilePath, 1:COMM, 2:OnReturn(on/off), 3:TimeOut(-1 = waitExit) | return 字串(OnReturn=ON) | return 字串(OnReturn=ON) | 執行外部程式
Rtxt | 0:FilePath, 1:Line(-1 = ALL) | 0 | 取得字串 | read file
Wtxt | 0:FilePath, 1:Value, 2:Mode(0 => Append / 1=> Creat) | 0 |  | write file
DFile | 0:FilePath | 0 |  | del file
MFile | 0:Source FilePath, 1:Destination FilePath | 0 |  | move file
CFile | 0:Source FilePath, 1:Destination FilePath | 0 |  | copy file
KillPro | 0:Kill Name | 0 |  | Kill Process
Rini | 0:INI FilePath, 1:Section, 2:Key | 0 | value | Read ini value
Wini | 0:INI FilePath, 1:Section, 2:Key, 3:Value | 0 | value | Write value to ini
SetCount | 0:Step Increment, 1:Default Count(TRUE/FLASE) | 0 | Count Num | 累積 Count
SetDT | 0:KeyName, 1:SubKey(Default:PathCalTime) | 0 | yyyyMMddHHmmss | Set DateTime
GetDT | 0:KeyName, 1:SubKey(Default:PathCalTime) | 0 | yyyyMMddHHmmss | Get DateTime
ChkDT | 0:KeyName, 1:SubKey(Default:PathCalTime) | 0 | Difference in days,yyyyMMddHHmmss | Check Diff days
ConVersion | 0:Conversion type (B 2 O 2 D 2 H), 1:source | 0 | Value | 進制轉換 binary/octal/decimal/hexadecimal B2D, B2O, B2H / D2B,D2O,D2H / O2B,O2D,O2H / H2B H2O, H2D
StringScan | 0:Source String, 1: Fmt (separate by '-') %d %x ([0-9A-Fa-f]) %x2 (0x[0-9A-Fa-f]) %f %s %e 英文 %en 英文+數字+_ %mac (格式 00:00:00:....) %mac2 (000102030405) %mac3 (00-01-02-03-04-05) %ip (格式xxx.xxx.xxx.xxx) 幾個%就是幾個Result,沒有%就是關鍵字 關鍵字不能有逗號，不然會分成兩個關鍵字。 例:XXXXX-%s-XXXXX-%d-%d-%.*XX)，其中XXXXXX為所輸入的關鍵字。 | 0 | 幾個%就有幾個Result
StringProcess | 0:Source String, 1~N: exporess R[eplace] ¦ S1 ¦ S2 ==> 替換字元 S[ubst] ¦ Offset ¦ Len ==> 擷取一段字串 M[atch] ¦ Express ==> 搜尋吻合規則字串 M[atch]A[fter] ¦ Express ==> 搜尋吻合規則之前字串 M[atch]B[efore] ¦ Express ==> 搜尋吻合規則之後字串 U[pper] ==> 轉大寫 L[ower] ==> 轉小寫 m[AC] ¦ separation(有需要時，可加入，預設為空白,ex : or -) ==> 轉 MAC A[dd] ¦ d/h ¦ val ¦ L ==> 數字相加 [su]B[traction] ¦ d/h ¦ val ¦ L ==> 數字相減 Mu[ltiply] ¦ d/h ¦ val ¦ L ==> 數字相成 D[ivide] ¦ d/h ¦ val ¦ L ==> 數字相除 Re[mainder] ¦ d/h ¦ val ==> 取餘數 I[p add] ¦ val ==> IP 相加 [ma]C ¦ val ==> MAC 相加 I[P]G[enerate] ==> MAC 生成 IP M[AC]G[enerate] ==> IP 生成 MAC | 0 | 幾個 , 就有幾個Result
GenDT | 0:format [, 1:UTC] | 0 | 取得當前時間 | Format 標準日期時間格式
DiffDT | 0:format [, 1:UTC] | 0 | 計算時間差 for sec | Format 標準日期時間格式
GetPath | 0:DateTime format(yyyyMMddHHmmss), 1:UTC/NOW, 2:minuend DateTime(20220722163020) | 0 | 程式執行路徑
THChkSum | string | 0 | string+CheckSum | Gen TestHarness CheckSum 頭@ 尾# 都要
fChkSum | 0:CheckSum Type(MD5/SHA256/SHA512/CRC32), 1:FilePath,2:FileName | 0 | File CheckSum
sChkSum | 0:CheckSum Type(MD5/SHA256/SHA512/CRC32/CRC16MBHL/CRC16MBLH), 1:String | 0 | String CheckSum
PlaySound | 0:File, 1:time(ms) | 0 |  | 由 PC 播一段音檔
ExFile | 0:FilePath | 0 | File Size | 判斷檔案是否存在，並回傳File Size
AHCONV | 0:Conversion type(A 2 H 2 A), 1:source | 0 | dataOutput | 16進制 與 Ascii 互轉
MATH | 0:Type(MAX/MIN/AVG/Median/Mode/STDEV), 1: input String, 2: splits, 3.ABS ON/OFF(Default OFF) | 0 | Value | 整串數值, 進行數學轉換
EXPROG | 0:ExeFilePath, 1:COMM | 0 | Status | 判斷程式是否存在, 若無時將自動開啟
LSPCIP |  | 0 | PC IP address list | 抓取所有PC IP address
UUID |  | 0 | Generate UUID for 32 characters | 亂數生成 32碼 UUID
FINDCOM |  | 0 | COM list with(-) | 取得當下COM port list - 為區隔號
DIFFCOM | 0:COM list(with -) | 0 | Difference COM port | 與輸入 COM list 對比, 查找前後不同COM
SETEP | 0:path | 0 |  | 設定程序當下運行路徑
GETEP |  | 0 | Current Path | 取得程序當下運行路徑
CRTDIR | 0:path | 0 | Full Path | 創建資料夾
LPAD | 0:Data 1:TotalWidth 2:Padding | 0 | Full data | 向左補滿字元 00123
RPAD | 0:Data 1:TotalWidth 2:Padding | 0 | Full data | 向右補滿字元 12300
GETCOM | 0: Port ID (Port_#0001.Hub_#0001), [1: ChildNum, -1 for all] | 0 | COM port | 利用 Port&Hub 取得 COM port list
LSDIR | 0:Path 1:KeyWord [2:Index, null for last] | 0 | Full filename | 取得某資料夾下檔案名, 依據生成時間排序
GetChainCOM | 0: Port Chain ([1-1-4]), [1: ChildNum, -1 for all] | 0 | COM port | 利用 Port Chain 取得 COM port list
2Float | 0:Data 1:TotalPoint 2:[divisor] | 0 | float data | Format 數值為小數點後幾位輸出
IMEIAPI | 0:IMEI Type(gIMEI/veyIMEI), 1:IMEI | 0 | gIMEI for IMEI+Check digit veyIMEI for verify IMEI accuracy | gIMEI : 輸入14碼, return IMEI+Check digit for 15碼 veyIMEI : 檢驗 15碼 IMEI 正確性
Example: | Parameters | RetValues | Output | Desc.
StrCMP | 12345abcde,abcd,0,4 |  |  | 比較字串內文字
ChkRegex | 12345,[0-9]$ |  |  | 確認字串格式 (正規化表示)
GetSTR | abc=123456,[^abc=]+ |  | 123456 | 取得字串 (正規化表示)
StrSpilt | 123=456*789&abc,=*&,2 |  | 789 | 字串切割
CMD | C:\Windows\System32\calc.exe,123,on,-1 |  |  | 執行外部程式
Rtxt | C:\msildbg.log,5 |  | Starting to load self extact info. | 讀取文字檔
THChkSum | @SNb112$222222222222# |  | @SNb112$222222222222#36 | Gen TestHarness CheckSum 頭@ 尾# 都要
ExFile | D:\test.jpg |  | 12546 | 檔案大小為 12546 bytes
Install package | ncessary libraries
Send | Reply | EndPrompt | Ref | Validation | Return
:Utility.ChkLEN,"1234567890","10" | 0 |  | Msg |  | Msg = Success Length:10
:Utility.StrCMP,"aabbccdd","cc","4","2" | 0 |  | Msg |  | Msg = Success compare:cc
:Utility.ChkRegex,"aabbccdd","cc" | 0 |  | Msg |  | Msg = Success IsMatch
:Utility.GetSTR,"aabb9835.988ccdd","[0-9]+\.[0-9]+" | 0 |  | Value | (Value,%f,9000,10000); | Value = 9835.988
:Utility.GetSTR,""Version:1.2.0.0_261_229;SerialNumber:5MJ48BW578981","[^Version:][^SerialNumber:][\w\.]+" | 0 |  | V1;V2 |  | V1=1.2.0.0_261_229;V2=5MJ48BW578981
:Utility.StrRep,"aabbccddeeff","cc","0099" | 0 |  | Value |  | Value = aabb0099ddeeff
:Utility.StrSpilt,"aabb-ccdd-eeff","-","-1" | 0 |  | V1;V2;V3 |  | V1=aabb; V2=ccdd; V3=eeff
:Utility.Ping,"192.168.1.111","5000","192.168.1.11" | 0 |  | Msg |  | Msg = Ping 192.168.1.111 Successed.
:Utility.UnPing,"192.168.1.112","5000","192.168.1.11" | 0 |  | Msg |  | Msg = UnPing 192.168.1.112 Successed.
:Utility.CMD,"D:\Arlo\Iperf\iperf.exe","-c 192.168.1.11 -t 5","on","10000","0" | @Gbit/sec |  | log_tpTx:WithinString,"GBytes","Gbits/sec","" | (log_tpTx,%f,1,5); | For reply message: '------------------------------------------------------------ Client connecting to 192.168.1.11, TCP port 5001 TCP window size: 208 KByte (default) ------------------------------------------------------------ [ 3] local 192.168.1.11 port 45363 connected with 192.168.1.11 port 5001 [ ID] Interval Transfer Bandwidth [ 3] 0.0- 5.0 sec 1.41 GBytes 2.41 Gbits/sec
:Utility.CMD,"D:\Arlo\Iperf\iperf.exe","-s -i 1","off","-1","0" | @OFF |  |  |  | For reply message: OnReturn setting for OFF
:Utility.Rtxt,"D:\Arlo\Efuse\doorbell.txt","1" | 0 |  | Msg |  | Msg = CHIP = MT7686
:Utility.Wtxt,"D:\Arlo\Efuse\Test.txt","test 123~~ test 456~~","1" | 0 |  | Msg |  | Msg = Write File Successed
:Utility.DFile,"D:\Arlo\Efuse\Test.txt" | 0 |  | Msg |  | Msg = Delete File Successed.:D:\Arlo\Efuse\Test.txt
:Utility.MFile,"D:\Arlo\Efuse\Test.txt","D:\Test_Backup.txt" | 0 |  | Msg |  | Msg = Move File Successed.:D:\Arlo\Efuse\doorbell.txt to D:\Test_Backup.txt
:Utility.CFile,"D:\Test_Backup.txt","D:\Arlo\Efuse\Test.txt" | 0 |  | Msg |  | Msg = Copy File Successed.:D:\Test_Backup.txt to D:\Arlo\Efuse\doorbell.txt
:Utility.KillPro,"iperf.exe" | 0 |  | Msg |  | Msg = Kill Process Successed.:iperf.exe
:Utility.Rini,"D:\Arlo\Efuse\setting.ini","WIFI","XO_TRIM2" | 0 |  | Key |  | Key = 0xB7
:Utility.Wini,"D:\Arlo\Efuse\setting.ini","WIFI","ADD","Test" | 0 |  | Value | (Value,%s,Test,); | Value = Test
:Utility.SetCount,"1","TRUE" | 0 |  | Value | (Value,%d,0,2); | Value = 1
:Utility.SetCount,"5","FALSE" | 0 |  | Value | (Value,%d,5,10); | Value = 6
:Utility.SetDT,"Doorbell","M8_Path" | 0 |  | Msg |  | Msg = 20181114182507
:Utility.GetDT,"Doorbell","M8_Path" | 0 |  | Msg |  | Msg = 20181114182507
:Utility.ChkDT,"Doorbell","M8_Path" | 0 |  | DiffDay;Date; | (DiffDay,%d,0,7); | DiffDay = 1; Date = 20181113182507
:Utility.ConVersion,"B2O","1001010" | 0 |  | Value | (Value,%d,100,200); | Value = 112
:Utility.ConVersion,"B2H","1001010" | 0 |  | Value | (Value,%x,40,5f); | Value = 4a
:Utility.ConVersion,"O2H","200" | 0 |  | Value | (Value,%x,70,100); | Value = 80
:Utility.ConVersion,"D2B","200" | 0 |  | Value |  | Value = 11001000
:Utility.ConVersion,"D2O","200" | 0 |  | Value |  | Value = c8
:Utility.GenDT,"yyyyMMdd_hh:mm:ss" | 0 |  | Value |  | Value = 20181115_10:25:19
:Utility.DiffDT,"yyyyMMddHHmmss","UTC","20220722163020" | 0 |  | Value |  | Value = 52.12
:Utility.GenDT,"hhmmss" | 0 |  | Value |  | Value = 102620
:Utility.GetPath | 0 |  | Value |  | Value = C:\Arlo_Doorbell
:Utility.THChkSum,"@0011223344#" | 0 |  | Value |  | Value = @0011223344#17
:Utility.fChkSum,"MD5","D:\Arlo\Efuse","chime.txt" | 0 |  | Value |  | Value = df0e662742757ebfd21de149a1ce74c0
:Utility.fChkSum,"SHA256","D:\Arlo\Efuse","chime.txt" | 0 |  | Value |  | Value = 54a22556428554e0e4f68a71fae0afbf7387ed36bf0b7776b74cdffb0ca93285
:Utility.fChkSum,"CRC32","D:\Arlo\Efuse","chime.txt" | 0 |  | Value |  | Value = c105dbc5
:Utility.sChkSum,"MD5","1234567890test_abcedfg" | 0 |  | Value |  | Value = a367fb878b4e87efe27033c759855e6a
:Utility.sChkSum,"SHA256","1234567890test_abcedfg" | 0 |  | Value |  | Value = d9a6b66827140dbb97a14186b1694819778501ad59561375b38cd8d139a8be36
:Utility.sChkSum,"CRC32","1234567890test_abcedfg" | 0 |  | Value |  | Value = 0493a7fb
:Utility.PlaySound,"1kHz.wav","5000" | 0
:Utility.StringScan,"aabbccdd0011:22334455xxyyzz","%d-22-%d-%s" | 0 |  | V1;V2;V3 |  | V1=0011; V2=334455; V3=xxyyzz
:Utility.StringScan,"ETH MAC:001122334455;IP address:192.168.0.5","%mac2-%ip" | 0 |  | MAC;IP; |  | MAC=001122334455; IP=192.168.0.5
:Utility.StringScan,"WiFi MAC: 00:11:22:33:44:55","%s-MAC-%mac" | 0 |  | Dev;MAC |  | Dev=WiFi; MAC=00:11:22:33:44:55
:Utility.StringScan,"DoscicA Bit Error: -50; DoscicB Bit Error: -30","%d-%d" | 0 |  | V1;V2 |  | V1=-50; V2=-30
:Utility.StringScan,"SSID: Arlo-AP MAC: 192.168.1.5 RSSI: -65","SSID:-%s-MAC:-%s-%d" | 0 |  | V1;V2;V3 |  | V1=Arlo-AP; V2=192.168.1.5; V3=-65
:Utility.StringScan,"CM4 Image Ver: SDK_V4.7.0","Ver:-%s" | 0 |  | V1 |  | V1=SDK_V4.7.0
:Utility.StringScan,"Version:1.2.0.0_261_229 ; SerialNumber:5MJ48BW578981",":-%s-:-%s" | 0 |  | V1;V2 |  | V1=1.2.0.0_261_229; V2=5MJ48BW578981
:Utility.StringScan,"@#$%^=aabbccdd_123456 @$%^&&","%en" | 0 |  | Value |  | Value=aabbccdd_123456
:Utility.StringScan,"@#$%^=aabbccdd_123456 @$%^&&","%e" | 0 |  | Value |  | Value=aabbccdd
:Utility.StringScan,"@#$%^=123.456 @$%^&&","%f" | 0 |  | Value |  | Value=123.456
:Utility.StringProcess,"001122334455","m" | 0 |  | MAC |  | MAC=00:11:22:33:44:55
:Utility.StringProcess,"359665","A¦d¦5¦8" | 0 |  | Value |  | Value=00359670
:Utility.StringProcess,"359665","A¦d¦5" | 0 |  | Value |  | Value=00359670
:Utility.StringProcess,"A6","A¦h¦5" | 0 |  | Value |  | Value=AB
:Utility.StringProcess,"20","Mu¦d¦5" | 0 |  | Value |  | Value=100
:Utility.StringProcess,"20","D¦d¦5" | 0 |  | Value |  | Value=4
:Utility.StringProcess,"20149","Re¦d¦5" | 0 |  | Value |  | Value=4
:Utility.StringProcess,"192.168.1.5","I¦5" | 0 |  | Value |  | Value=192.168.1.10
:Utility.StringProcess,"00112233445E","C¦5" | 0 |  | Value |  | Value=001122334463
:Utility.StringProcess,"00112233445E","IG" | 0 |  | Value |  | Value=10.69.214.179
:Utility.StringProcess,"192.168.1.5","MG" | 0 |  | Value |  | Value=006B4AF806CD
:Utility.StringProcess,"192.168.10.5","R¦.10¦.20" | 0 |  | Value |  | Value=192.168.20.5
:Utility.StringProcess,"192.168.10.5","S¦8¦2" | 0 |  | Value |  | Value=10
:Utility.StringProcess,"aabb9835.988ccdd","M¦[0-9]+\.[0-9]+" | 0 |  | Value |  | Value=9835.988
:Utility.StringProcess,"aabb9835.988ccdd","MA¦[0-9]+\.[0-9]+" | 0 |  | Value |  | Value=aabb
:Utility.StringProcess,"aabb9835.988ccdd","MB¦[0-9]+\.[0-9]+" | 0 |  |  |  | Value=ccdd
Utility.ExFile,"D:\test.jpg" | 0 |  | Fszie | (Fsize,%d,12000,14000); | Fszie=12546
Utility.ExProg,".\TFTP\CERT\tftpd32.exe","" | 0 |  | Status |  | 第一參數為執行檔名+路徑, 第二為 執行檔 參數, Status 會回應狀況,
Utility.Math,"MAX","11¦22¦33¦44¦55¦66¦77","¦","OFF" | 0 |  | Value |  | 第一參數為比較 type, 第二為 原始數字串, 第三為 切割符號, 第四為 數字是否強轉 ABS, Value 會回應比較後數值
Utility.lsPCIP | 0 |  | IP |  | IP=乙太網路 4:[025041000001]#10.196.161.121#乙太網路:[00606EB04299]#192.168.100.11#
Utility.UUID | 0 |  | gUUID |  | gUUID=fcb000f3b76d451aac92c7012e510895
Utility.FindCOM | 0 |  | bCOM |  | bCOM=COM1-COM3
Utility.DiffCOM,"*(bCOM)" | 0 |  | nCOM |  | nCOM=COM5, 與所帶入 COM1-COM3 對比, 新增 COM5
Utility.SetEP,"D:\aaa" | 0 |  |  |  | 設定程序當下運行路徑到 D:\aaa
Utility.GetEP | 0 |  | cPATH |  | cPATH=D:\Arlo\Centimani, 取得程序當下運行路徑
Utility.CrtDIR,"*(cPATH)\newFolder" | 0 |  | crtPath |  | crtPath=D:\Arlo\Centimani\newFolder, 創建 newFolder 資料夾
Utility.Lpad,"123","5","0" | 0 |  | Ldata |  | Ldata=00123, 向左補滿00 達五位字組
Utility.Rpad,"123","5","0" | 0 |  | Rdata |  | Rdata=12300, 向右補滿00 達五位字組
Utility.GetCOM,"Port_#0001.Hub_#0001","0" | 0 |  | gCOM |  | gCOM=COM2, 取得 Port_#0001.Hub_#0001 所對應COM port
Utility.lsDIR,"D:\log","123456789" | 0 |  | gFile |  | gFile=123456789-TeatLog-PASS.log, 取得關鍵字 123456789 最新生成file name
Utility.GetChainCOM,"[1-1-4]","0" | 0 |  | gCOM |  | gCOM=COM2, 取得 [1-1-4] 所對應COM port
Utility.2Float,"12345","2","16" | 0 |  | gFdata |  | 將 12345 輸出為 771.56
Utility.GerDevID,"[1-1-4]","ATOLL-AB-IDP" | 0 |  | gDevID |  | gCOM=1H123456789, 取得 [1-1-4] 所對應 Parent Device ID for Child name KW ATOLL-AB-IDP
:Utility.sChkSum,"CRC16MBHL","AA 13 88" | 0 |  | Value |  | Value = AA 13 88 5C B6
:Utility.sChkSum,"CRC16MBLH","AA 13 88" | 0 |  | Value |  | Value = AA 13 88 B6 5C
:Utility.IMEIAPI,"gIMEI","35755323000001" | 0 |  | IMEI |  | IMEI = 357553230000017
:Utility.IMEIAPI,"veyIMEI","357553230000025" | 0 (0:PASS, 1:FAIL)

## InstIQApi_A
Function |  |  |  | Parameters |  |  |  | Desc.
bool LoadSettings(string Settings, ref string ErrorMsg) |  |  |  | IP,IQXelConnectionType,DH_APT_Enable,TokenID,LockTimeout,CableLossFile |  |  | XEL(1)/XEL_M(3)/XEL_M6(7)/XEL_M8(8), 1(DH) / 2(APT), TokenAPT_ID, DH_APT_Timeout,
bool Open(ref string Msg)
bool Close()
bool Dispose()
Example:
LoadSettings |  |  |  | 192.168.100.254,1,2,3,60000,XelM8_PathLoss.ini
Open(ref string Msg)
Close
Dispose
string Execute(string APIName, string[] Param, string RetValues)
API name |  |  |  | Parameters |  |  | RetValues | Output
MeasWIFI |  |  |  | ChainNo, DataRate, Channel, Target Power, ChannelEstimation,空字串(保留) |  |  | 選擇想要抓取的就可以 Power, FreqErr/FreqErrPPM, EVM, Spectrum | 會依照所設定RetValues的順序輸出 'Power¦FreqErr/FreqErrPPM¦EVM¦Spectrum | Measure WIFI Signal
GenWIFI |  |  |  | ChainNo, DataRate, Channel, PowerLevel, PacketCount, LDPC |  |  |  | Status | Generate WIFI Signal
MeasCW |  |  |  | ChainNo, Channel, Target Power |  |  | 選擇想要抓取的就可以 Power, FreqErr | 會依照所設定RetValues的順序輸出 Power¦FreqErr | Measure Continue Wave
MeasBT |  |  |  | ChainNo, Frequency, TargetPower |  |  | 選擇想要抓取的就可以 BT1.0: TxPower, InitialCarrierFreq, DeltaF1Avg, DeltaF2Max, DeltaF2MaxAccess, DeltaF2Avg, DeltaF2AvgAccess, FreqDrift, MaxFreqDriftRate BT2.x, BT3.x: TxPower, InitialCarrierFreq, DeltaF2MaxAccess, DeltaF2AvgAccess, EdrEvmAvg, EdrPowerDiff, EdrOmegaI, EdrExtremeOmega0, EdrExtremeOmegaI0 BLE: TxPower, FreqOffset, DeltaF1Avg, DeltaF2Max, DeltaF2Avg, AvgDevSync, FnMax, DeltaF0FnMax, DeltaF1F0, DeltaFnFn5Max, CrcOK | 會依照所設定RetValues的順序輸出 BT1.0: TxPower¦InitialCarrierFreq¦DeltaF1Avg¦DeltaF2Max¦DeltaF2MaxAccess¦DeltaF2Avg¦DeltaF2AvgAccess¦FreqDrift¦MaxFreqDriftRate BT2.x, BT3.x: TxPower¦InitialCarrierFreq¦DeltaF2MaxAccess¦DeltaF2AvgAccess¦EdrEvmAvg¦EdrPowerDiff¦EdrOmegaI¦EdrExtremeOmega0¦EdrExtremeOmegaI0 BLE: TxPower¦FreqOffset¦DeltaF1Avg¦DeltaF2Max¦DeltaF2Avg¦AvgDevSync¦FnMax¦DeltaF0FnMax¦DeltaF1F0¦DeltaFnFn5Max¦CrcOK | Measure BT Signal
GenBT |  |  |  | ChainNo, Frequency, PacketType, PayloadPattern, PowerLevel, PacketCount |  |  |  | Status | Generate BT Signal
|  |  |  | Packet Type: 1DH1¦1DH3¦1DH5¦2DH1¦2DH3¦2DH5¦3DH1¦3DH3¦3DH5¦1LE Payload Pattern: 000088C0FFEE¦1010¦00001111¦prbs9¦11110000 |  |  |  |  | 選項說明
Example: |  |  |  | Parameters |  |  | RetValues | Output | Desc.
MeasWIFI |  |  |  | "1","11n_MCS7_20","7","15","0","" |  |  | Power, FreqErrPPM, EVM, Spectrum | 0¦15.3¦1.2¦33¦0
MeasCW |  |  |  | "1","7","15" |  |  | Power, FreqErr | 0¦15.3¦1.2
GenWIFI |  |  |  | "1","11n_MCS7_20","7","-60","1000","0" |  |  |  | 0
GenBT |  |  |  | "1","2441","3DH5","prbs9","5","500" |  |  |  | 0
MeasBT |  |  |  | "1","2441","5" |  |  | 參考上面
Install package |  |  |  | ncessary libraries
Data Rate List
802.11b | 802.11g/a | 802.11n |  | 802.11ac
11b_1L | 11ag_6 | 20M | 40M | 20M | 40M | 80M
11b_2L | 11ag_9 | 11n_MCS0_20 | 11n_MCS0_40 | 11ac_MCS0_20 | 11ac_MCS0_40 | 11ac_MCS0_80
11b_2S | 11ag_12 | 11n_MCS1_20 | 11n_MCS1_40 | 11ac_MCS1_20 | 11ac_MCS1_40 | 11ac_MCS1_80
11b_5.5L | 11ag_18 | 11n_MCS2_20 | 11n_MCS2_40 | 11ac_MCS2_20 | 11ac_MCS2_40 | 11ac_MCS2_80
11b_5.5S | 11ag_24 | 11n_MCS3_20 | 11n_MCS3_40 | 11ac_MCS3_20 | 11ac_MCS3_40 | 11ac_MCS3_80
11b_11L | 11ag_36 | 11n_MCS4_20 | 11n_MCS4_40 | 11ac_MCS4_20 | 11ac_MCS4_40 | 11ac_MCS4_80
11b_11S | 11ag_48 | 11n_MCS5_20 | 11n_MCS5_40 | 11ac_MCS5_20 | 11ac_MCS5_40 | 11ac_MCS5_80
| 11ag_54 | 11n_MCS6_20 | 11n_MCS6_40 | 11ac_MCS6_20 | 11ac_MCS6_40 | 11ac_MCS6_80
|  | 11n_MCS7_20 | 11n_MCS7_40 | 11ac_MCS7_20 | 11ac_MCS7_40 | 11ac_MCS7_80
|  |  |  | 11ac_MCS8_20 | 11ac_MCS8_40 | 11ac_MCS8_80
|  |  |  | 11ac_MCS9_20 | 11ac_MCS9_40 | 11ac_MCS9_80

## InstIQApi_B
Function |  |  |  | Parameters |  |  |  | Desc.
bool LoadSettings(string Settings, ref string ErrorMsg) |  |  |  | IP,IQXelConnectionType,DH_APT_Enable,TokenID,LockTimeout,CableLossFile
bool Open(ref string Msg)
bool Close()
bool Dispose()
Example:
LoadSettings |  |  |  | 192.168.100.254,2,2,5,60000,XelM8_PathLoss.ini
Open(ref string Msg)
Close
Dispose
string Execute(string APIName, string[] Param, string RetValues)
API name |  |  |  | Parameters |  |  | RetValues | Output
MeasWIFI |  |  |  | ChainNo, DataRate, Channel, Target Power, ChannelEstimation,空字串(保留) |  |  | 選擇想要抓取的就可以 Power, FreqErr/FreqErrPPM, EVM, Spectrum | 會依照所設定RetValues的順序輸出 'Power¦FreqErr/FreqErrPPM¦EVM¦Spectrum | Measure WIFI Signal
GenWIFI |  |  |  | ChainNo, DataRate, Channel, PowerLevel, PacketCount, LDPC |  |  |  | Status | Generate WIFI Signal
MeasCW |  |  |  | ChainNo, Channel, Target Power |  |  | 選擇想要抓取的就可以 Power, FreqErr | 會依照所設定RetValues的順序輸出 Power¦FreqErr | Measure Continue Wave
MeasBT |  |  |  | ChainNo, Frequency, TargetPower |  |  | 選擇想要抓取的就可以 BT1.0: TxPower, InitialCarrierFreq, DeltaF1Avg, DeltaF2Max, DeltaF2MaxAccess, DeltaF2Avg, DeltaF2AvgAccess, FreqDrift, MaxFreqDriftRate BT2.x, BT3.x: TxPower, InitialCarrierFreq, DeltaF2MaxAccess, DeltaF2AvgAccess, EdrEvmAvg, EdrPowerDiff, EdrOmegaI, EdrExtremeOmega0, EdrExtremeOmegaI0 BLE: TxPower, FreqOffset, DeltaF1Avg, DeltaF2Max, DeltaF2Avg, AvgDevSync, FnMax, DeltaF0FnMax, DeltaF1F0, DeltaFnFn5Max, CrcOK | 會依照所設定RetValues的順序輸出 BT1.0: TxPower¦InitialCarrierFreq¦DeltaF1Avg¦DeltaF2Max¦DeltaF2MaxAccess¦DeltaF2Avg¦DeltaF2AvgAccess¦FreqDrift¦MaxFreqDriftRate BT2.x, BT3.x: TxPower¦InitialCarrierFreq¦DeltaF2MaxAccess¦DeltaF2AvgAccess¦EdrEvmAvg¦EdrPowerDiff¦EdrOmegaI¦EdrExtremeOmega0¦EdrExtremeOmegaI0 BLE: TxPower¦FreqOffset¦DeltaF1Avg¦DeltaF2Max¦DeltaF2Avg¦AvgDevSync¦FnMax¦DeltaF0FnMax¦DeltaF1F0¦DeltaFnFn5Max¦CrcOK | Measure BT Signal
GenBT |  |  |  | ChainNo, Frequency, PacketType, PayloadPattern, PowerLevel, PacketCount |  |  |  | Status | Generate BT Signal
|  |  |  | Packet Type: 1DH1¦1DH3¦1DH5¦2DH1¦2DH3¦2DH5¦3DH1¦3DH3¦3DH5¦1LE Payload Pattern: 000088C0FFEE¦1010¦00001111¦prbs9¦11110000 |  |  |  |  | 選項說明
Example: |  |  |  | Parameters |  |  | RetValues | Output | Desc.
MeasWIFI |  |  |  | "1","11n_MCS7_20","7","15","0","" |  |  | Power, FreqErrPPM, EVM, Spectrum | 0¦15.3¦1.2¦33¦0
MeasCW |  |  |  | "1","7","15" |  |  | Power, FreqErr | 0¦15.3¦1.2
GenWIFI |  |  |  | "1","11n_MCS7_20","7","-60","1000","0" |  |  |  | 0
GenBT |  |  |  | "1","2441","3DH5","prbs9","5","500" |  |  |  | 0
MeasBT |  |  |  | "1","2441","5" |  |  | 參考上面
Install package |  |  |  | ncessary libraries
Data Rate List
802.11b | 802.11g/a | 802.11n |  | 802.11ac
11b_1L | 11ag_6 | 20M | 40M | 20M | 40M | 80M
11b_2L | 11ag_9 | 11n_MCS0_20 | 11n_MCS0_40 | 11ac_MCS0_20 | 11ac_MCS0_40 | 11ac_MCS0_80
11b_2S | 11ag_12 | 11n_MCS1_20 | 11n_MCS1_40 | 11ac_MCS1_20 | 11ac_MCS1_40 | 11ac_MCS1_80
11b_5.5L | 11ag_18 | 11n_MCS2_20 | 11n_MCS2_40 | 11ac_MCS2_20 | 11ac_MCS2_40 | 11ac_MCS2_80
11b_5.5S | 11ag_24 | 11n_MCS3_20 | 11n_MCS3_40 | 11ac_MCS3_20 | 11ac_MCS3_40 | 11ac_MCS3_80
11b_11L | 11ag_36 | 11n_MCS4_20 | 11n_MCS4_40 | 11ac_MCS4_20 | 11ac_MCS4_40 | 11ac_MCS4_80
11b_11S | 11ag_48 | 11n_MCS5_20 | 11n_MCS5_40 | 11ac_MCS5_20 | 11ac_MCS5_40 | 11ac_MCS5_80
| 11ag_54 | 11n_MCS6_20 | 11n_MCS6_40 | 11ac_MCS6_20 | 11ac_MCS6_40 | 11ac_MCS6_80
|  | 11n_MCS7_20 | 11n_MCS7_40 | 11ac_MCS7_20 | 11ac_MCS7_40 | 11ac_MCS7_80
|  |  |  | 11ac_MCS8_20 | 11ac_MCS8_40 | 11ac_MCS8_80
|  |  |  | 11ac_MCS9_20 | 11ac_MCS9_40 | 11ac_MCS9_80

## iRFSW3001
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | Interface, ConnString
Example: | GPIB,GPIB0::1::INSTR
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
SetCH | For switch (1~4), Get Delay |  |  | Switch to CH1
GetCH |  |  |  | Get current Channel
Example: | For switch (1~4), Delay | RetValues | Output
:Dev.SetCH | 1, 500 | 0 | CH1 | Switch to CH1
:Dev.GetCH |  | 0 | CH1 | Get current Channel
Install package | ncessary libraries

## PSS2005
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | Interface, ConnString
Example: | GPIB,GPIB0::4::INSTR
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
MSCurr |  | 0 | Current | Get current
MSVolt |  | 0 | Voltage | Get Voltage
SetCurr | Current | 0 |  | Set current
SetVolt | Voltage | 0 |  | Set Voltage
SetON | Voltage, Current | 0 |  | Set ON with Voltage /Current
OUTONOFF | ON(OFF) | 0 |  | Set ON / OFF
CLR |  | 0 |  | Clear setting
Example: | Parameters | RetValues | Output
:Dev.SetON | 5,0.9 | 0 |  | Set ON with 5V / 0.9A
:Dev.MSCurr |  | 0 | 0.83 | Get current
Install package | ncessary libraries

## PSH1503
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | Interface, ConnString,[VOP,OutPort] | Interface: GPIB or COM | OutPut: FRONt or READ[Default]
Example: | GPIB,GPIB0::4::INSTR COM,COM9,5.5,FRONt | Use COM9 for OVP 5.5V Output for Front port
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
MSCurr |  | 0 | Current | Get current
MSVolt |  | 0 | Voltage | Get Voltage
SetCurr | Current | 0 |  | Set current
SetVolt | Voltage | 0 |  | Set Voltage
SetON | Voltage, Current | 0 |  | Set ON with Voltage /Current
OUTONOFF | ON(OFF) | 0 |  | Set ON / OFF
CLR |  | 0 |  | Clear setting
Example: | Parameters | RetValues | Output
:Dev.SetON | 5,0.9 | 0 |  | Set ON with 5V / 0.9A
:Dev.MSCurr |  | 0 | 0.83 | Get current
Install package | ncessary libraries

## GDM906x
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | COM Port, Buadrate
Example: | COM,115200,[TimeOut] |  | TimeOut default for 2s | Use for COM9, 115200
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
VDC | Get DC voltage | 0 | Voltage | Get Voltage
ADC | Get DC current | 0 | Current | Get current
VAC | Get AC voltage | 0 | Voltage | Get Voltage
AAC | Get AC current | 0 | Current | Get current
FREQ | Get Frequence | 0 | Frequence | Get Frequence
CLS | Clear Error | 0 |  | Clear setting
RST | Reset device | 0
Send | command string | reply string | reply string
Example: | Parameters | RetValues | Output
:Dev.ADC |  | 0 | 0.83 | Get current
:Dev.CLS |  | 0
Install package | ncessary libraries

## Agilent34401A
Function | Parameters |  |  | Desc.
LoadSettings(string Settings) | Interface, ConnString,Terminal(1:Front/0:Rear)
Example: | GPIB,GPIB0::4::INSTR,1
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
MSCurr | AC(DC) | 0 | Current | Get Current (A)
MSVolt | AC(DC) | 0 | Voltage | Get Voltage (V)
MSFreq |  | 0 | Frequency | Get Frequency (Hz)
MSPer |  | 0 | Period | Get Period (Sec)
MSCont |  | 0 | 1/0 | Check Continuity
Example: | Parameters | RetValues | Output
:Dev.MSFreq |  | 0 | 12734.789 | Get Frequency
:Dev.MSCurr | DC | 0 | 0.83 | Get current
Install package | ncessary libraries

## Agilent6643A
Function | Parameters |  | Desc.
LoadSettings(string Settings) | GPIB, GPIB Connective String
Example: | GPIB,GPIB0::1::INSTR
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
Relay | Relay 1,Relay 2,Relay 3, Relay 4 ~~ (ONE/ZERO) |  | Relay1~4 Status | Set Relay
Set | VOLTage/CURRect/OUTPut(ON/OFF) |  | Volt/Curr/Out | Set VOLTage/CURRect/OUTPut
Send | Command |  | 0 (PASS)/非0 (FAIL) | Send Command
Receive | 空白 | Result | 0 | Revice Data
Query | Command | Result | 0 | Query Data
Example: | Parameters | RetValues | Output | Desc.
Relay | ONE,ONE,ZERO,ZERO |  | ONE¦ONE¦ZERO¦ZERO
Set | 12,1.5,ON |  | 12¦1.5¦ON
Install package | ncessary libraries
Send | Reply | EndPrompt | Ref | Validation | Return
:Dev.Query,"READ?" | 0 |  | Val | (Val,%f,1,10); | Val=1.267
:Dev.Relay,"ONE","ONE","ZERO","ZERO" | 0 |  | R1;R2;R3;R4 |  | R1=ONE;R2=ONE;R3=ZERO;R4=ZERO
:Dev.Set,"12","1.5","ON" | 0 |  | V;C;S |  | V=12;C=1.5;S=ON

## RF_Switch
Function | Parameters |  |  | Desc.
LoadSettings(string Settings)
Example:
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
Set_Switch | SwitchName ( A to D),Port(0 to 1) |  | 1 | Set Switch
Example: | Parameters | RetValues | Output | Desc.
Set_Switch | A,1 |  | 1 | Set Switch
Set_Switch | B,1 |  | 1 | Set Switch
Set_Switch | A,0 |  | 1 | Set Switch
Install package | necessary libraries
mcl_RF_Switch_Controller64.dll請放在CentimaniSystem.exe同層資料夾下
RF_Switch.dll請放在Device資料夾下
Send | Reply | EndPrompt | Ref | Validation | Return
:Dev.Set_Switch,"A,1," | 0 |  | Switch_Status | (Switch_Status,%s,1,1);
:Delay,"1000" | 0
:Dev.Set_Switch,"A,0," | 0 |  | Switch_Status | (Switch_Status,%s,1,1);
:Delay,"1000" | 0

## SCPI_Controller
Function | Parameters |  | Desc.
LoadSettings(string Settings) | GPIB, GPIB Connective String
Example: | GPIB,GPIB0::1::INSTR
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
Set | VOLTage/CURRect/OUTPut(ON/OFF) |  | Volt/Curr/Out | Set VOLTage/CURRect/OUTPut
Send | Command |  | 0 (PASS)/非0 (FAIL) | Send Command
Receive | 空白 | Result | 0 | Revice Data
Query | Command | Result | 0 | Query Data
Example: | Parameters | RetValues | Output | Desc.
Set | 12,1.5,ON |  | 12¦1.5¦ON
Install package | ncessary libraries
Send | Reply | EndPrompt | Ref | Validation | Return
:Dev.Query,"READ?" | 0 |  | Val | (Val,%f,1,10); | Val=1.267
:Dev.Set,"12","1.5","ON" | 0 |  | V;C;S |  | V=12;C=1.5;S=ON

## DevUart
Function | Parameters |  | Desc.
LoadSettings(string Settings) | Port,Rate,DBits,SBits,Parity,FlowControl,Ready Timeout,Response Timeout |  | 於開啟時, 即打開 Uart
Example: | COM3,115200,8,One,None,None,10000,5000
無使用到Uart 保留空白
Open(string Params, ref string Msg)
string execFunction(string APIName, string Param, string RetValues)
API name | Parameters | RetValues | Output
AddAttribute | 0. Name(CharMode/SendMode/[COM]) 1. Value(Text/Hex/Dec/Mix/[Port]) | 0: PASS |  | 設定Uart Type
Parameter | 0. Name(CharMode/SendMode/[COM]) | Parameter value |  | 取得 Uart 設定
Send | 0. SendData 1.newline(r/n) [2~5]. CheckReply_EndPrompt_[DelayMs]_Clear | return string | return string | Uart send command
Receive | 0. Prompt [1. DelayMs] | return string | return string | Receive Uart reply
CloseUart |  |  |  | Close Uart
OpenUart |  |  |  | ReOpen Urat
SetVar | 0.variable Name 1.variableValue | 0: PASS |  | 設定變數值
GetVar | 0.variable Name | 0: PASS | VariableValue | 取得變數值
clrVar |  | 0: PASS |  | 清除變數值
Announce | 0.index 1.active(init, start, end) | AnnounceValue |  | 設定同步狀態
rmIndex | 0.IndexNumber | 0: PASS | Announce Count | 移除同步機數
clrTable |  | 0: PASS |  | 清除所有機點同步狀況
chkFinal | 0. Final keyWord | finish | Announce Count | 確認最終狀況
chkSync | 0. Sync keyWord | SyncPass | Announce Count | 確認同步狀況
Example:
Send | Reply | EndPrompt | Ref | Validation | Return
:Dev.AddAttribute,"CharMode,Hex" | 0
:Dev.Parameter,"CharMode" | Hex
:Dev.AddAttribute,"COM,COM5" | 0 |  |  |  |  | 重新設定COM port
:Dev.Parameter,"COM" | COM5
:Dev.Send,"diag ver,n,@version,#,5000,true" | @version |  | $SWver |  | Swver=version 1.1
:Dev.Receive,"diag>,10000" | @diag>
:Dev.CloseUart | 0
:Dev.OpenUart | 0
:Dev.SetVar,"250LI,12345" | 0
:Dev.GetVar,"250LI" | 0 |  | g250LI |  | g250LI=12345
:Dev.clrVar | 0
:Dev.Announce,"SAT1,init" | init
:Dev.chkSync,"end" | SyncPass |  | AnnCont |  | AnnCont=3 | 判斷是否都為 end
:Dev.chkFinal,"start" | finish |  | AnnCont |  | AnnCont=3 | 判斷還有start 嗎?
:Dev.rmIndex,"SAT1" | 0 |  | AnnCont |  | AnnCont=2
:Dev.clrTable | 0